| TYPE |
| --- |
| Building(s): | Building Street Address: |
| Floor: | Room: | Shaft: | Roof: | Vessel: |
| Other: |
| CONTRACTOR INFOMATION |
| Company Name: | Contact Person: |
| Address: | Contact Phone: |
| Emergency Phone Number(s): |  |
| MIT INFORMATION |
| Department: | Contact Person: |
| Emergency Phone Number: 617-253-1500 | Contact Phone #: |
| DESCRIPTION OF WORK |
| Date: To | Expiration Date: | Time: | to: | Daily? Yes No |
| Work to be done: |
| Acetylene/MAPP Gas | Oxy/Acetylene Torch | MIT Hot Work Permit Only |
| Soldering/Grinding only | Electric Arc Welding | Gas Welding/Type |
| Other (Explain): |
| Required Pre-Work Instructions: Verify by checkmark that the following have been explained and are understood: Emergency Phone Numbers: Dial 100 or 253-1212/Utilize Emergency Phones: if outside. Notify Facilities Operations Center (253-1500) daily prior to work commencement to assure smoke detectors in area have been disabled: and again at work completion (daily) to have smoke detectors returned to service. Operations Center will notify MIT Police. Hot work must be stopped at least ½ hour prior to quitting time and area checked by supervisor or their designate for any signs of smoldering fire or embers. |
| Authorized Welders Workers / Fire Watch | Equipment Authorized to Utilize | Applicable License (s): |
| Signatures below indicate all items on form have been discussed and marked appropriately. |
| MIT AHWS Signature |  |
| Welder’s Signature |  |
| NOTICE: REQUIRED PRECAUTIONS CHECKLIST (OTHER SIDE) MUST BE COMPLETED! |

| REQUIRED PRECAUTIONS CHECKLIST |
| --- |
| General | Work on Enclosed Equipment |
| 1. |  | Available sprinkler protection in service. |  | 18. |  | Enclosed equipment cleaned of combustibles. |
| 2. |  | Fire alarm in service. |  | 19. |  | Containers purged of flammable liquids/vapors. |
| 3. |  | Hot work equipment in operable condition/good repair. |  | 20. |  | Pressurized vessels, piping and equipment removed from service, isolated and vented. |
| 4. |  | Adequate escape routes from area for workers and building/area occupants. |  | Confined Space |
| 5. |  | Adequate shielding protection in public. |  | 21. |  | Is work area a confined space? Yes/No If Yes, STOP, and obtain Confined Space Permit. |
| 6. |  | Signs posted. |  |  |  |  |
|  |  |  |  | Fire Watch/Hot Work Area Monitoring |
| Requirements Within 35 Feet Radius |  | 22. |  | Fire Watch will be present during and 30 minutes after work, including breaks and lunch. |
| 7. |  | Flammable/Combustible materials removed. |  | 23. |  | Fire Watch is provided with extinguishers and/or small charged line and trained in use of same as well as alarm locations and activation alarm. |
| 8. |  | Fire-resistive tarpaulin or metal covers for item #4 that cannot be removed. |  | 24. |  | Additional fire watch may be necessary for adjoining areas, above and below. |
| 9. |  | Explosive atmosphere in area eliminated. |  | 25. |  | Area checked after completion of job by: |
| 10. |  | Floors swept clean (dust, lint, oily deposits removed)> |  | Ventilation/Air Quality Concerns |
| 11. |  | Combustible floors? Contact EHS (452-3477) |  | 27. |  | Adequate ventilation? Y N If N, contact EHS (452-3477) |
| 12. |  | All wall/floor openings covered. |  | 28. |  | Asbestos involvemen? Y N If Y, contact EHS (452-3477) |
| 13. |  | Fire-resistive tarpaulins suspended beneath work. |  | 29. |  | Lead involvement? Y N If Y, contact EHS (452-3477) |
| Work on Walls or Ceiling |  |  |  |  |
| 14. |  | Construction is noncombustible and without combustible covering or insulation. |  |  |  |  |
| 15. |  | Combustible construction? Contact EHS (452-3477) |  |  |  |  |
| 16. |  | Combustibles on either side of walls moved away. |  |  |  |  |
| Miscellaneous |  |  |  |  |
| 16. |  | Nearest fire alarm pull station location: |  |  |  |  |
| 17 |  | Other Precautions: |  |  |  |  |
| I verify the above location(s) have been examined; the precautions checked on the “Required Precautions Checklist” have been taken to prevent fire, and permission is authorized for this work. |
| Authorized Hot Work Supervisor: |